To whom it might concern.

Please fill in required information for the ordering of MAS2600 transmitters:

Standard information:

| *Company name: |  |  |
| --- | --- | --- |
| *Ship name: | *IMO no.: | Hull No: |
| *Tank name: | *Range: | *Cable length: |

* Mandatory input

MAS2600 For replacement:

| *Transducer serial no.: | *Box Serial no.: | *Amplifier serial no.: |
| --- | --- | --- |

* One or more fields need to be filled out

NON-Replacement / New orders / New inquiries:

Please mark the required: Type-selection, cable length, mounting type, amplifier box type and amplifier PCB.

| Type-selection |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| G = Gauge transmitter |  | H = High Temperature transmitter |  |  | 1 = Transmitter with PT100 |
| 1 | 8-M26G10-XX-0/00 |  | 8-m26G11-xx-0/00 |  | Ranges max. 3.5 mH2O |
| 2 | 8-M26G20-XX-0/00 |  | 8-m26G11-xx-0/00 |  | Ranges max. 7.0 mH2O |
| 3 | 8-M26G30-XX-0/00 |  | 8-m26G11-xx-0/00 |  | Ranges max. 16.0 mH2O |
| 4 | 8-M26G40-XX-0/00 |  | 8-m26G11-xx-0/00 |  | Ranges max. 35.0 mH2O |
| 5 | 8-M26H10-XX-0/00 |  | 8-m26H11-xx-0/00 |  | Ranges max. 3.5 mH2O |
| 6 | 8-M26H20-XX-0/00 |  | 8-m26H11-xx-0/00 |  | Ranges max. 7.0 mH2O |
| 7 | 8-M26H30-XX-0/00 |  | 8-m26H11-xx-0/00 |  | Ranges max. 16.0 mH2O |
| 8 | 8-M26H40-XX-0/00 |  | 8-m26H11-xx-0/00 |  | Ranges max. 35.0 mH2O |
| Cable |  |  |  |  |  |
| 5 | 8-M26XXX-XX-0/00 | M | Cable length to be defined in amount of Meters ( Interval of 5 Meters) |  |  |
| Mounting type |  |  |  |  |  |
| 6 | 8-M26000-00-0/00 |  | Transmitter without any fittings |  |  |
| 7 | 8-M26000-00-1/00 |  | Bracket for internal mounting |  |  |
| 8 | 8-M26000-00-2/00 |  | Pole Mounting |  |  |
| 9 | 8-M26000-00-3/00 |  | 1” pipe end mounting |  |  |
| 10 | 8-M26000-00-4/00 |  | DN 25 PN 16 Flange |  |  |
| 11 | 8-M26000-00-5/00 |  | DN 40 PN 16 Flange |  |  |
| 12 | 8-M26000-00-6/00 |  | DN 50 PN 16 Flange |  |  |
| 13 | 8-M26000-00-9/00 |  | Flex Pole (80oC) DN50 Add per M. Std. FlexHose (80oC) High Temp. FlexHose (125oC per M.) |  |  |
|  | Hose length | M |  |  |  |
| 14 | 8-M26000-00-P/00 | M | Flex PTFE tube (125oC) |  |  |
| 15 | 8-M26000-00-V/00 |  | DN25/1” Ball Valve |  |  |
| Amplifier Box type |  |  |  |  |  |
| 16 | 8-M26000-00-0/00 |  | Box Not supplied |  |  |
| 17 | 8-M26000-00-0/10 |  | Standard box with PG 11 / PG11 |  |  |
| 18 | 8-M26000-00-0/20 |  | Standard box with PG 11 / PG 13,5 |  |  |
| 19 | 8-M26000-00-0/30 |  | Standard box with PG 11 / PG 16 |  |  |
| 20 | 8-M26000-00-0/50 |  | Standard box with PG 13,5 / PG 13,5 |  |  |
| 21 | 8-M26000-00-0/60 |  | Standard box with PG 11 / PG11 and fill hole |  |  |
| 22 | 8-M26000-00-0/70 |  | Standard box with PG 11 / PG 13,5 and fill hole |  |  |
| 23 | 8-M26000-00-0/80 |  | Standard box with PG 11 / PG 16 and fill hole |  |  |
| 24 | 165B9035 |  | 316L SS deck box |  |  |
| Amplifier PCB |  |  |  |  |  |
| 25 | 8-M26000-00-0/00 |  | No amplifier supplied |  |  |
| 26 | 8-M26000-00-0/0P |  | Amp. with progr. output range and without terminals for temp. sensor |  |  |