________________________________________________________________________________

Eichendorffstraße 28

D-78054 VS-Schwenningen

Telefon	+49 (0) 7720 3002-0

Telefax	+49 (0) 7720 3002-11

sales@barigo.de

| Artikel/Article | Mechanisches Thermo- Hygrometer |
| --- | --- |
| Artikel -Nr./Article No. | 2300 |
| Netto EK/Purchase Price net |  |
| Beschreibung/Description | Thermometer & Hygrometer |
| Technische Daten: | Technical Specifications: |
| Thermometer Skala von -20°C…+50°C Auflösung 1°C Hygrometer Skala von 10% RH…100% RH Auflösung 1% RH Genauigkeit Thermometer: +- 1°C im Bereich 0°C…40°C Hygrometer: +/- 5% im Bereich 40% …70% RH Gehäuse Material: Messing verchromt Maße: 130 x 35mm Mineralglas Gewicht: 210g EAN Code: NN Zolltarif-Nr.: 90258080 MADE IN GERMANY | Thermometer Measuring range -20°C…+50°C Resolution 1°C Hygrometer Measuring range 10% RH…100%RH Resolution 1%RH Accuracy Thermometer: +- 1°C in the range 0°C…40°C Hygrometer: +/- 5% in the range of 40% …70% RH Case Material: chromed brass Measures: 130 x 35mm Mineral glass Weight: 210g EAN Code: NN Custom tariff code: 90258080 MADE IN GERMANY |

# Text boxes

## Produktinformation/

Product Information